Table 2:

Blood pressure and spo2 database and records that used in simulating algorithms for record 032n in mimic database numeric

| Patent ID | Descriptions for all the records |
| --- | --- |
| 032n; 033n; 037n; 039n; 041n; 048n; 052n; 054n; 055n; 208n; 209n; 210n; 211n; 212n; 213n; 214n; 215n; 216n; 218n; 219n, 220n, 221n, 224n, 225n; 226n; 230n; 231n; 232n; 233n; 235n; 237n; 240n; 241n; 242n; 243n; 245n; 248n; 252n; 253n; 254n; 255n; 259n; 260n; 262n; 264n; 267n; 268n; 224n; 225n and 269n. | - 60 seconds (1 min) length. - Time standard Format. - Data standard format. - The MIMIC Database is called Numerics because the following data are frequently displayed in numeric form on ICU monitor displays: heart rate, blood pressure (mean, systolic, diastolic), respiration rate, and oxygen saturation. And so on. Because the data collection approach was designed to have no impact on patient monitoring or treatment, the measured variables varied between these records, depending on the ICU staff's needs for best patient care in each case. - The measurements in these recordings were taken at 1.024-second intervals (0.976563 Hz). |